## Slide 2
What we want to measure?

## Slide 4
Currently available options

## Slide 5
€302.26
€601.25
1,059.00 $
485.00 $
1,787.36 $
$1,329.00
€397.00
2,134.80 £
Encoder
Load cell
Encoder
Encoder
Encoder
Load cell
Encoder
Data acquisition unit

## Slide 6
Availability of load cell and linear/rotational encoders
Cost around €900 for both sensors
Open source software
Great software with lots of analysis features and global database
Encoder
Load cell
Need for a computer to collect the data
Need for specific hardware associated with each sensor
Not ideal for daily usage (Real time feedback)
No battery powered
No wireless connection

## Slide 7
Availability of load cell and linear/rotational encoders
Cost over $3000 for both sensors
Historically pioneers and most used package in research
Need for a computer to collect the data
Need for specific hardware associated with each sensor
Extremely unaffordable
Not ideal for daily usage (Real time feedback)
No battery powered
Load cell
Encoder
Data acquisition unit

## Slide 8
Cheapest commercial device
Application to monitor and record activity
Bluetooth connectivity
Long life battery
App only available for IOS smartphones
No load cell availability, just encoder

## Slide 9
Real time visual feedback (Kaiser like)
Bluetooth connectivity with an extra $355 device
No load cell availability
Segment display
Requires cable connection with a computer to store data

## Slide 10
Bluetooth connectivity
Good App
Application to monitor and record activity
Unaffordable > £2000
No load cell availability

## Slide 11
Manufacturing and assembly instructions

## Slide 12
PCB ordering (JLCB PCB)

## Slide 13
Teensy 3.2 Development board
Pushbutton
Power supply connection
Encoder and Load cell Connections
Load cell amplifier circuit
PCB soldering

## Slide 14
Screen placing
Display wiring
Pushbutton

## Slide 15
Case manufacturing

## Slide 16
RJ12 cable – optical encoder connection
Cut the green wire
Encoder wires
A
Shield
B
5V
GND
RJ12 cable – load cell connection
Cut the blue wire
Load cell wires
E+
E-
A-
A+
Shield
Load cell and encoder wiring

## Slide 17
1
2
3
4
5
6
Load cell building process

## Slide 18
1
2
3
4
5
6
7
8
Linear encoder building process

## Slide 19
2
3
4
1

## Slide 20
Arduino IDE download
https://www.arduino.cc/en/software

## Slide 21
Teensyduino download
https://www.pjrc.com/teensy/td_download.html

## Slide 22
Libraries download
Copy to documents/Arduino/libraries
(.cpp and .h on the folder)
https://github.com/bogde/HX711

## Slide 23
How to upload the firmware
Connect your Arduino using the USB cable. ...
Choose Tools→Board→Arduino Uno to find your board in the Arduino menu. ...
Choose the correct serial port for your board. ... (COM# Teensy 3.2)
Click the Upload button.

## Slide 24
Load cell calibration
Upload Calibration code (Calibration.ino)
The Calibration code will display the raw load cell
and encoder values on the screen:
Open the load cell calibration spreadsheet (Load cell calibration.xlsx)
Attach the load cell between one fixed point and a strap to attach the weights proposed on the spreadsheet. The resulting equation will be introduced on the Sport Analyzer code.

## Slide 25
Encoder calibration
Upload Calibration code (Calibration.ino)
The Calibration code will display the raw load cell
and encoder values on the screen:
Open the encoder calibration spreadsheet (Encoder calibration.xlsx)
Use a ruler as a reference to measure the displacement between two points and introduce the ruler size or measurement size and each of the measurements (1-15) on the table.
The resolution in pulses/mm will appear in the bottom of the table

## Slide 26
Future versions

## Slide 27
Experimental data: Simultaneous acquisition of speed and force (inertial machine)
Incremental encoder
Load cell

## Slide 28
Experimental data: Unilateral mechanical impulse in a closed kinetic chain exercise

## Slide 29
Experimental data: Unilateral velocity squat jump test

## Slide 30
Experimental data: Bosco’s 60s test

## Slide 31
Experimental data: Unilateral power output in a closed kinetic chain exercise (TRX row with (Load cell and linear encoder recording)

## Slide 32
Experimental data: Unilateral Isometric contraction (Shoulder external rotation as an example of rehab/functional exercise)

## Slide 33
Experiments and case studies
-Tirant musculador canviant afegint carrega/canviant angle del cos
Politja conica/yoyo squat com a exemple de mesura de F i v simultanea
Test de Bosco com a mesura de caiguda de velocitat amb la fatiga
Mesura de velocitat unilateral (salts a una cama)
Mesura de F isometrica unilateral