## Slide 1
RJ12 cable – load cell connection
Cut the blue wire
Load cell wires
E+
E-
A-
A+
Shield

## Slide 2
1
2
3
4
5
6

## Slide 3
1
2
3
4
5
6

## Slide 4
RJ12 cable – optical encoder connection
Cut the green wire
Encoder wires
A
Shield
B
5V
GND

## Slide 5
RJ12 cable – optical encoder connection
Cut the green wire
Encoder wires
A
Shield
B
5V
GND
RJ12 cable – load cell connection
Cut the blue wire
Load cell wires
E+
E-
A-
A+
Shield

## Slide 6
1
2
3
4
5
6
7
8

## Slide 7
2
3
4
1

## Slide 8
RJ12 cable – resistive sensor connection
Cut the blue, yellow and white wires
Resistive sensor wires
Signal
5V
GND

## Slide 9
RJ12 cable – electrogoniometer connection
Cut the blue, yellow and white wires
Electrogoniometer
sensor wires
Signal
5V
GND
RJ12 cable – load cell connection
Cut the blue wire
Load cell wires
E+
E-
A-
A+
Shield
RJ12 cable – optical encoder connection
Cut the green wire
Encoder wires
A
Shield
B
5V
GND